## Load Calculator
Office Energy Consumption Estimates
Applicance | Quantity | Wattage (W) | Hours/Day | Daily Energy (Wh) | Notes
LED Lights | 20 | 20 | 10 | 4000 | Office lighting
Ceiling Fan | 10 | 75 | 10 | 7500
Air Conditioner | 10 | 800 | 10 | 80000
Desktop Computer | 5 | 150 | 8 | 6000
Printer | 1 | 500 | 2 | 1000 | Intermittent
WiFi Router | 1 | 20 | 24 | 480 | Always on
Total Daily Load |  |  |  | 98980
Total Daily Load (kWh) |  |  |  | 98.98

## System Sizing
Labels | Values | Units
Daily Load | 98.98 | kWh/Day
Peak Sun Hours (PSH) | 4.8 | hrs/day
System Efficiency (PR) | 0.8
Panel Wattage | 400 | W
Battery Voltage | 48 | V
Depth of Discharge (DOD) | 0.5
Panels Required | 538 | panels
Total Installed Capacity | 215.2 | kWp
Peak Load | 1900 | W
Inverter size | 2.5 | kVA
Battery Capacity Required | 4125 | Ah
No. of 100 Ah batteries | 42 | batteries
Approximate System Cost (₹) | 9684000 | ₹

## Monthly Yield Report
Month | Days | PSH | Yield (kWh) | Demand (kWh) | Surplus/Deficit (kWh) | Status
January | 31 | 4.8 | 25617.408 | 3068.38 | 22549.028 | SURPLUS
February | 28 | 5.4 | 26030.592 | 2771.44 | 23259.152 | SURPLUS
March | 31 | 6 | 32021.76 | 3068.38 | 28953.38 | SURPLUS
April | 30 | 6.3 | 32538.24 | 2969.4 | 29568.84 | SURPLUS
May | 31 | 6.1 | 32555.456 | 3068.38 | 29487.076 | SURPLUS
June | 30 | 5.2 | 26856.96 | 2969.4 | 23887.56 | SURPLUS
July | 31 | 4.6 | 24550.016 | 3068.38 | 21481.636 | SURPLUS
August | 31 | 4.8 | 25617.408 | 3068.38 | 22549.028 | SURPLUS
September | 30 | 5.5 | 28406.4 | 2969.4 | 25437 | SURPLUS
October | 31 | 5.8 | 30954.368 | 3068.38 | 27885.988 | SURPLUS
November | 30 | 5.2 | 26856.96 | 2969.4 | 23887.56 | SURPLUS
December | 31 | 4.6 | 24550.016 | 3068.38 | 21481.636 | SURPLUS
Total |  |  | 336555.584 | 36127.7 | 300427.884
|  | Annual Specific Yield (kWh/kWp) |  | 1563.92